# Request for Tender ATM_2026_6786

Greenhouse and Energy Minimum Standards (GEMS) Check Testing Services

# ADDENDUM NUMBER 3

# Notice to Market

# As at 12 August 2026

# Questions and Clarifications:

| # Question | # Clarification |
| --- | --- |
| # Attachment 14 Part 6 has the subscript 1 next to test ID’s 1 through 5 but there are no notes at the end of the Part 6. # In the 2023 tender, there was a subscript 1 on numerous tests and a note at the end of the table that read: # “Notes: - For these tests where testing is conducted on a ducted air-conditioner as part of the test a check is required to be undertaken to ensure that the Minimum external static pressure requirement in the test standard is met” # Can DCCEEW please clarify what the subscript 1 applies to for the 2026 tender. My understanding is that the note from the previous tender would still be valid? | # Yes, you are correct, the 2023 note for subscript 1 in Part 6 of Attachment 14 is valid for the current approach to market. # Please use Attachment 14 - Testing Charges by product type - GEMS Check Testing Tender 2026 - Final v3.docx, which has been corrected and uploaded with this addendum. |

# Amendments to Content:

| # ATM Section | # Original Content | # Updated Content |
| --- | --- | --- |
| # Attachment 14 - Testing Charges by product type - GEMS Check Testing Tender 2026 | # The note for subscript 1 in Part 6 is missing. See question above for further details. | # The updated version [UPDATED] of Attachment 14 - Testing Charges by product type - GEMS Check Testing Tender 2026 - Final v3.docx published with this addendum now includes # Notes: - For these tests where testing is conducted on a ducted air-conditioner as part of the test a check is required to be undertaken to ensure that the Minimum external static pressure requirement in the test standard is met |