GEMS CHECKTESTING

# Reporting Requirements for Test Laboratories

Size and Layout

- Reports are to be prepared on A4 sized plain paper.

- Except where shown otherwise or where impractical, layout shall be in portrait orientation.

Content

Test Reports are to be prepared in accordance with the provisions of the relevant test standard and where applicable the requirements of your governing accreditation body (eg NATA). In general test reports should cover the following aspects:

- Service Provider Details

- Product Description

- Test Standards and Variations

- Instrumentation and set up

- Product Specific Technical Content

- Test results

Compliance testing summary report

In addition to producing a test report, you are also required to produce a “compliance testing summary report” which is to be affixed to the front of your main report. The compliance testing summary report shall be in the format as described in the following pages and shall include the following 5 elements (in the order noted)

- Document Control Sheet (See following page for proforma)

- Test Unit Stewardship Record (See following page for proforma)

- Key Testing Details page

- Results Summary Page (See following pages for proforma)

- Photos page (unless incorporated into the main report) including:

- A general photo of the test unit and where relevant its packaging (showing all relevant faces)

- A photo of the control panel/s if applicable

- A photo of the energy label (if provided)

- A photo of the product identification plate if applicable

Note: In the following pages are examples of the Summary Report pages. In these examples the data for the fields marked in light green highlighter shall be provided by the client in a “data sheet”.

Copies and Binding

One electronic Copy in PDF format (NOT EXCEEDING 3 MB IN SIZE).

COMPLIANCE TESTING SUMMARY REPORT

Document Control Sheet

| Checktest ID Number: |  |  | Test Run No. |
| --- | --- | --- | --- |
| Test Laboratories Contract Reference No. (stage 1 testing only) |  |  |  |
| Type of Test | Stage 1 |  |  |
| Product Description |  |  |  |
| Product Type |  |  |  |
| Product Sub-type |  |  |  |
| Product Brand |  |  |  |
| Product Model |  |  |  |
| Registration Number |  |  |  |
| Record ID Number |  |  |  |
| Product Serial Number/s |  |  |  |
| Was a “Datasheet” Provided by the Department? (stage 1 testing only) | Yes / No Strike out as applicable | Date Provided? / / |  |
| Test Laboratory Details |  |  |  |
| Name of Laboratory |  |  |  |
| Address |  |  |  |
| Test Officer |  |  |  |
| Contact Person |  |  |  |
| Email Address |  |  |  |
| Phone Number |  |  |  |
| Fax Number |  |  |  |
| Test Labs Own Reference No. |  |  |  |
| Test Completion Date |  |  |  |

Overall Checktest Outcome

| Did this product pass the checktest validity criteria for every test undertaken? | Passed / Failed |
| --- | --- |
|  | Strike out as applicable |

Amendments

| No. | Description | Date | By |
| --- | --- | --- | --- |
| 1 | Initial issue |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

COMPLIANCE TESTING SUMMARY REPORT

Unit Stewardship Record

Important Note: if this is a stage 2 test report or if your organisation did not purchase the test unit/s skip part 1 of this page and proceed directly to part 2 below

Part 1: Purchase Details

| What was the date of purchase? |  |
| --- | --- |
| From where was the test unit obtained? (Supplier name and address) |  |
| Who obtained the test unit? |  |
| Provide details of how the purchase was paid for (cheque, credit card etc) |  |
| Who transported the test unit to your laboratory and by what means? |  |

Part 2: Security and Evidentiary Details

| Who at your laboratory received the test unit? |  |
| --- | --- |
| What security arrangements are in place to prevent unauthorised access to or substitution of the unit |  |
| From whom did you receive the test unit? |  |
| Were the test units received in their original, unopened packaging? | Yes / No Strike out as applicable |
| Did you take photos of the test units while still in their original packaging? (Please provide copies) | Yes / No Strike out as applicable |
| Did you provide photos of the product once removed from its original packaging? (Please provide copies) | Yes / No Strike out as applicable |
| Did you provide a photo of the energy rating label? (Please provide copies) | Yes / No Strike out as applicable |
| Did you provide photos of the product compliance plate? (Please provide copies) | Yes / No Strike out as applicable |
| Have you provided any other photos pertaining to the product, prior to commencing the test (i.e. test set up) (If so, Please provide copies) | Yes / No Strike out as applicable |

Computer Monitor

(Example Only)

COMPLIANCE TESTING SUMMARY REPORT

Key Testing Details

Test Standard Details

| Test Standard Applied (Including Amendment Number) |  |
| --- | --- |
| Were there any variations applied to the noted test standard? | Yes / No Strike out as applicable |
| Describe the nature of any variations applied to the test method prescribed in the above standard | (if none note “Nil”) |
| If variations were applied, who authorised the variation? |  |

Test Set-up Details (complete as applicable)

Comments on test set up

COMPLIANCE TESTING SUMMARY REPORT – Test Results: Minimum Performance Compliance

| 1. | Off Mode Power |  |  |  |  |  | Tested: | Yes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample ID |  | Measured Value (W) | Uncertainty of Measurement (max. permitted = ± 2%) | Measured value - uncertainty (W) | Measured value + uncertainty (W) | Compliance Target (W) | Compliance of individual sample (Y/N) |  |
| Unit 1 |  |  |  |  |  | 1 W |  |  |
| Unit 2 |  |  |  |  |  | 1 W |  |  |
| Unit 3 |  |  |  |  |  | 1 W |  |  |
| Checktest Validity Criteria |  | Stage 1: The measured value shall be ≤ the compliance target value. Stage 2 : For 2 out of 3 samples tested the measured value - the uncertainty of measurement shall be ≤ the compliance target value |  |  |  |  | Pass or Fail? ????? |  |

| 2. | Standby Active (Sleep) Mode Power |  |  |  |  |  | Tested: | Yes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample ID |  | Measured Value (W) | Uncertainty of Measurement (max. permitted = ± 2%) | Measured value - uncertainty (W) | Measured value + uncertainty (W) | Compliance Target (W) | Compliance of individual sample (Y/N) |  |
| Unit 1 |  |  |  |  |  | 2 W |  |  |
| Unit 2 |  |  |  |  |  | 2 W |  |  |
| Unit 3 |  |  |  |  |  | 2 W |  |  |
| Checktest Validity Criteria |  | Stage 1: The measured value shall be ≤ the compliance target value. Stage 2 : For 2 out of 3 samples tested the measured value - the uncertainty of measurement shall be ≤ the compliance target value |  |  |  |  | Pass or Fail? ????? |  |

| 3. | On Mode Power (NO Automatic Brightness Control) |  |  |  |  |  | Tested: | Yes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample ID |  | Measured Value (W) | Uncertainty of Measurement (max. permitted = ± 2%) | Measured value - uncertainty (W) | Measured value + uncertainty (W) | Compliance Target (W) | Compliance of individual sample (Y/N) |  |
| Unit 1 |  |  |  |  |  |  |  |  |
| Unit 2 |  |  |  |  |  |  |  |  |
| Unit 3 |  |  |  |  |  |  |  |  |
| Checktest Validity Criteria |  | Stage 1: The measured value shall be ≤ the compliance target value. Stage 2 : For 2 out of 3 samples tested the measured value - the uncertainty of measurement shall be ≤ the compliance target value |  |  |  |  | Pass or Fail? ????? |  |

| 4. | Weighted Average Mode Power (WITH Automatic Brightness Control) |  |  |  |  |  | Tested: | Yes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample ID |  | Measured Value (W) | Uncertainty of Measurement (max. permitted = ± 2%) | Measured value - uncertainty (W) | Measured value + uncertainty (W) | Compliance Target (W) | Compliance of individual sample (Y/N) |  |
| Unit 1 |  |  |  |  |  |  |  |  |
| Unit 2 |  |  |  |  |  |  |  |  |
| Unit 3 |  |  |  |  |  |  |  |  |
| Checktest Validity Criteria |  | Stage 1: The measured value shall be ≤ the compliance target value. Stage 2 : For 2 out of 3 samples tested the measured value - the uncertainty of measurement shall be ≤ the compliance target value |  |  |  |  | Pass or Fail? ????? |  |

COMPLIANCE TESTING SUMMARY REPORT – Test Results: Declared Values

| 5. | Projected Annual Energy Consumption |  |  |  |  |  | Tested: | Yes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample ID |  | Measured Value (kWh/annum) | Suppliers Declared Value (label) (kWh/annum) | Suppliers Declared Value (Registered) (kWh/annum) | Verification Tolerance (%) | Compliance Target (Reg. Declared Value + Tolerance) | Compliance of individual sample (Y/N) |  |
| Unit 1 |  |  |  |  | 10% |  |  |  |
| Unit 2 |  |  |  |  | 10% |  |  |  |
| Unit 3 |  |  |  |  | 10% |  |  |  |
| Mean |  |  |  |  | 10% |  |  |  |
| Checktest Validity Criteria |  | Stage 1: The measured value must be ≤ the compliance target value Stage 2: The average measured value of 3 additional samples tested shall be ≤ the compliance target value |  |  |  |  | Pass or Fail? ????? |  |